## Summary
Server BOM to host Mistral Medium 3.5 - summary
Mistral Medium 3.5: 128B dense, vision, 256K context, open weights (Modified MIT, 2026-04-29). FP8 weights ~134 GB; Mistral's floor is 'as few as four GPUs'. Prices are Oct 2026 estimates ex VAT; blue cells on the Assumptions and tier sheets are editable.
Tier | Runs | GPU VRAM (GB) | Capex ex VAT (EUR) | Capex incl. VAT (EUR) | Peak power (W) | Electricity / month (EUR) | TCO / month (EUR, ex VAT)
A - 4x RTX PRO 6000 Blackwell (recommended on-prem) | Mistral Medium 3.5 FP8, 64K-128K ctx
B - 1x RTX 5090 workstation (local fallback) | Mistral Small 3.2 24B only
C - 4x H100 80 GB (reference) | Mistral Medium 3.5 FP8
Recommendation
Buy Tier A only once monthly API or rental spend passes the break-even on the 'Cloud vs buy' sheet. Until then keep hosted mistral-medium-latest (measured ~0.01 EUR per page) and put Tier B on the desk as the local, swappable fallback. Tier C costs about twice Tier A for the same model fit.
Sheets: Assumptions (inputs) · Tier A/B/C (line items) · Cloud vs buy · Notes & sources

## Assumptions
Assumptions (edit the blue cells)
All prices in EUR excluding VAT, estimates as of 2026-10-17. Replace with supplier quotes before ordering.
Parameter | Value | Note / source
VAT rate (Germany) | 19% | German standard rate.
Electricity price (EUR per kWh) | 0.3 | Typical German commercial tariff 2026, user to confirm.
Contingency on hardware (spares, cables, shipping) | 5% | Rule of thumb.
Amortisation period (months) | 36 | Three years, matches the warranty line.
Operating hours per month | 730 | 24/7 = 730 h. Lower it if the box is switched off at night.
Average load factor (share of peak power while on) | 40% | Inference boxes idle a lot; 40 % is a mid estimate.
Cloud rental: 4x H100 80 GB (EUR per hour) | 12 | On-demand range 10-16 EUR/h across Lambda, RunPod, Hetzner-class providers, Oct 2026.
Cloud rental: 4x RTX PRO 6000 96 GB (EUR per hour) | 7 | On-demand estimate, Oct 2026.
Cloud rental: 1x RTX 5090 / 4090 (EUR per hour) | 0.6 | On-demand estimate, Oct 2026.
Mistral API cost per page (EUR) | 0.01 | Measured: 39 vision calls to mistral-medium-latest cost 0.39 USD on the corpus replay (bh3 README, 2026-10-17).
Pages processed per month | 5000 | Scenario input: the challenge corpus is 1,034 pages.
Legend
Blue text on yellow = input you can change. Black = formula. Green = value pulled from another sheet.

## Tier A - Medium on-prem
Tier A - Mistral Medium 3.5 on-prem (4x RTX PRO 6000 Blackwell)
Runs Mistral Medium 3.5 128B at FP8 (the official checkpoint) with 384 GB VRAM: ~134 GB weights plus room for a 64K-128K KV cache and the vision tower. Cheapest sane on-prem build.
# | Item | Spec / notes | Qty | Unit price (EUR ex VAT) | Line total (EUR ex VAT) | Peak power per unit (W) | Source / assumption
1 | NVIDIA RTX PRO 6000 Blackwell Server Edition 96 GB GDDR7 | passive, 600 W, PCIe 5.0 x16, dual slot | 4 | 8900 |  | 600 | Street 6,999-8,990 EUR ex VAT on eBay.de / Arvutitark; Servermall 12,893 EUR ex VAT; SHI list 17,628 EUR. Budget the mid value.
2 | 4U GPU server barebone, 4-8 double-width GPU slots | e.g. Supermicro AS-4125GS-TNRT or ASRock Rack 4U, 2x 2,700 W redundant Titanium PSU, 8x NVMe bays, 2x 10 GbE onboard, rails | 1 | 7500 |  | 500 | Reseller B2B estimate; public listings are stale. Get a quote from Supermicro / ASRock Rack partner (e.g. Thomas-Krenn, Delta Computer).
3 | AMD EPYC 9354 32-core CPU | Zen 4, 128 PCIe 5.0 lanes; one socket is enough for inference | 1 | 2800 |  | 0 | Distributor estimate.
4 | DDR5-4800 ECC RDIMM 64 GB | 6 modules = 384 GB, one DIMM per channel (6 of 12 channels) | 6 | 280 |  | 0 | Model loading and page cache; 256 GB+ recommended by Mistral self-host guides.
5 | Enterprise NVMe U.2 3.84 TB | model weights (~140 GB), work cache, page images; mirror as RAID 1 | 2 | 450 |  | 0 | Kioxia CD8 / Micron 7450 class.
6 | Boot SSD M.2 1 TB | OS and containers | 1 | 120 |  | 0
7 | NIC 25 GbE dual-port (optional) | Mellanox ConnectX-6 Lx; onboard 10 GbE is enough for a single box | 1 | 450 |  | 0 | Optional; set qty 0 if the onboard 10 GbE suffices.
8 | UPS 3 kVA online double conversion, rack 2U | covers 2.9 kW peak for a clean shutdown | 1 | 1800 |  | 0 | APC SRT3000 / Eaton 9PX class.
9 | 12U rack / enclosure | skip if a rack exists | 1 | 500 |  | 0 | Optional.
10 | Assembly, burn-in, OS + vLLM install | Ubuntu 24.04, NVIDIA driver, Docker, vLLM nightly, model download | 1 | 1500 |  | 0 | Integrator labour estimate, ~2 days.
11 | 3-year on-site warranty / support | server and GPUs | 1 | 2500 |  | 0 | Typical NBD on-site uplift.
12 | Software: Ubuntu Server, vLLM, Mistral Medium 3.5 weights | Modified MIT licence, free | 1 | 0 |  | 0 | mistralai/Mistral-Medium-3.5-128B on Hugging Face.
Hardware subtotal (ex VAT)
| Contingency (spares, cables, shipping) | rate from Assumptions
Total capex (ex VAT)
VAT
Total capex (incl. VAT)
Power and running cost
Peak system power (W)
Average draw (W) = peak x load factor
| Electricity per month (EUR) | avg W / 1000 x hours x EUR/kWh
Capex amortised per month (EUR, ex VAT)
Total cost of ownership per month (EUR, ex VAT)
| Total GPU VRAM (GB) |  |  |  | 384 |  | GPU count x VRAM per card.

## Tier B - Small workstation
Tier B - Mistral Small 3.2 workstation (1x RTX 5090)
Runs Mistral Small 3.2 24B (vision) at FP8/Q4 on one 32 GB card as the local fallback. Does NOT run Mistral Medium 3.5.
# | Item | Spec / notes | Qty | Unit price (EUR ex VAT) | Line total (EUR ex VAT) | Peak power per unit (W) | Source / assumption
1 | NVIDIA GeForce RTX 5090 32 GB | 575 W, consumer card | 1 | 2300 |  | 575 | Street price Oct 2026, ex VAT.
2 | AMD Ryzen 9 9950X 16-core |  | 1 | 550 |  | 170
3 | X870E ATX motherboard | PCIe 5.0 x16, 2.5/10 GbE | 1 | 350 |  | 0
4 | DDR5-5600 48 GB (2x = 96 GB) | non-ECC desktop | 2 | 175 |  | 0
5 | NVMe M.2 2 TB | models and page cache | 1 | 150 |  | 0
6 | PSU 1,200 W ATX 3.1 (12V-2x6) |  | 1 | 220 |  | 0
7 | Tower case with airflow |  | 1 | 150 |  | 0
8 | CPU cooler 360 mm AIO |  | 1 | 130 |  | 0
9 | Assembly + Ubuntu / Ollama or vLLM install |  | 1 | 150 |  | 0 | In-house, half a day.
10 | Software: Mistral Small 3.2 weights | Apache 2.0, free | 1 | 0 |  | 0 | mistralai/Mistral-Small-3.2-24B-Instruct-2506.
Hardware subtotal (ex VAT)
| Contingency (spares, cables, shipping) | rate from Assumptions
Total capex (ex VAT)
VAT
Total capex (incl. VAT)
Power and running cost
Peak system power (W)
Average draw (W) = peak x load factor
| Electricity per month (EUR) | avg W / 1000 x hours x EUR/kWh
Capex amortised per month (EUR, ex VAT)
Total cost of ownership per month (EUR, ex VAT)
| Total GPU VRAM (GB) |  |  |  | 32 |  | GPU count x VRAM per card.

## Tier C - H100 reference
Tier C - Reference: 4x H100 80 GB node
What the 'four GPUs' in Mistral's announcement usually means. Same model fit as Tier A (320 GB VRAM, FP8) at datacenter pricing. Listed for comparison; not recommended for a first box.
# | Item | Spec / notes | Qty | Unit price (EUR ex VAT) | Line total (EUR ex VAT) | Peak power per unit (W) | Source / assumption
1 | NVIDIA H100 80 GB PCIe | 350 W, passive, NVLink bridge optional | 4 | 25000 |  | 350 | Street 22,000-30,000 EUR ex VAT in 2026, estimate.
2 | 4U GPU server barebone (as Tier A) | 2x 2,700 W redundant PSU | 1 | 7500 |  | 500 | Same chassis as Tier A.
3 | AMD EPYC 9354 32-core CPU |  | 1 | 2800 |  | 0
4 | DDR5-4800 ECC RDIMM 64 GB | 6 modules = 384 GB | 6 | 280 |  | 0
5 | Enterprise NVMe U.2 3.84 TB | RAID 1 | 2 | 450 |  | 0
6 | Boot SSD M.2 1 TB |  | 1 | 120 |  | 0
7 | UPS 3 kVA online, rack 2U |  | 1 | 1800 |  | 0
8 | Assembly, burn-in, OS + vLLM install |  | 1 | 1500 |  | 0
9 | 3-year on-site warranty / support |  | 1 | 2500 |  | 0
Hardware subtotal (ex VAT)
| Contingency (spares, cables, shipping) | rate from Assumptions
Total capex (ex VAT)
VAT
Total capex (incl. VAT)
Power and running cost
Peak system power (W)
Average draw (W) = peak x load factor
| Electricity per month (EUR) | avg W / 1000 x hours x EUR/kWh
Capex amortised per month (EUR, ex VAT)
Total cost of ownership per month (EUR, ex VAT)
| Total GPU VRAM (GB) |  |  |  | 320 |  | GPU count x VRAM per card.

## Cloud vs buy
Cloud rental and API versus owning the box
Monthly figures. Rental and API rows use the Assumptions sheet; on-prem rows use the BOM sheets.
Option | Runs Mistral Medium 3.5? | EUR per month (ex VAT) | Basis | Break-even vs owning (months)
Own Tier A (4x RTX PRO 6000), TCO | Yes |  | electricity + capex / amortisation months
Own Tier C (4x H100), TCO | Yes |  | electricity + capex / amortisation months
Own Tier B (1x RTX 5090), TCO | No (Small 3.2 only) |  | electricity + capex / amortisation months
Rent 4x H100 on demand | Yes |  | EUR/h x operating hours
Rent 4x RTX PRO 6000 on demand | Yes |  | EUR/h x operating hours
Rent 1x RTX 5090 on demand | No (Small 3.2 only) |  | EUR/h x operating hours
Mistral API (mistral-medium-latest), pay per page | Yes (hosted) |  | measured EUR/page x pages per month
Break-even = capex of the comparable owned tier / monthly rental or API spend. Below the amortisation period means buying is cheaper than renting at that usage.
Pages per month needed for the API to cost as much as owning Tier A:

## Notes & sources
Notes and sources
Topic | Note | Source
Model facts | Mistral Medium 3.5: 128B dense, vision encoder (max image 1540x1540), 256K context, FP8 checkpoint ~134 GB, Modified MIT licence, released 2026-04-29. vLLM nightly required (not in a stable release yet). HF: mistralai/Mistral-Medium-3.5-128B. | https://recipes.vllm.ai/mistralai/Mistral-Medium-3.5-128B
Model facts | NVIDIA model card: input text + image, output text, Modified MIT. | https://build.nvidia.com/mistralai/mistral-medium-3.5-128b/modelcard
Sizing | FP8 ~128 GB weights, ~147 GB minimum before KV cache; BF16 ~256 GB; INT4 ~64 GB. 4x H100 80 GB called the 'sweet spot'. vllm serve example with --tensor-parallel-size 4 --quantization fp8 --max-model-len 65536. | https://www.spheron.network/blog/mistral-medium-3-5-gpu-requirements/
Sizing | Mistral: self-host on 'as few as four GPUs'. Suggested: 4x H100 80 GB, 4x H200 141 GB, or 4x RTX PRO 6000 Blackwell 96 GB; 256 GB+ system RAM; 10 GbE; 2,500 W+ under load. | https://vrlatech.com/mistral-medium-3-5/
Sizing | vLLM recipe recommends 8x H200 (TP 8) or 4x B200 for full 256K context; a single B200 / MI300X fits the weights but leaves little KV cache. | https://recipes.vllm.ai/mistralai/Mistral-Medium-3.5-128B
GPU price | RTX PRO 6000 Blackwell Server Edition 96 GB: 6,999 EUR ex VAT (eBay.de, sold), 8,854 EUR (Arvutitark), 8,990 EUR (eBay.de), 12,893 EUR ex VAT (Servermall), 17,628 EUR list (SHI). | https://servermall.com/catalog/gpu/nvidia-rtx-pro-6000-blackwell-server-edition/
GPU price | Arvutitark listing, 8,854.40 EUR. | https://www.arvutitark.ee/en/pc-components/graphics-cards-vga/nvidia-rtx-pro-6000-blackwell-server-edition-96-gb-gddr7-1486083
GPU price | H100 80 GB PCIe: 22,000-30,000 EUR ex VAT street in 2026 (estimate, no public 2026 listing found; Servermall 6x H100 system 301,469 EUR). | https://servermall.com/catalog/servers/supermicro-as-4124gs-tnr-24sff/
Chassis | Public 4x GPU barebone listings are stale or out of stock; the 7,500 EUR line is a reseller estimate. Ask Thomas-Krenn / Delta Computer / Supermicro partners for a quote. | https://www.neweggbusiness.com/s/server-barebones/id-8/3?local=y
Fallback model | Mistral Small 3.2 24B (vision, Apache 2.0): ~14-21 GB at Q4 depending on context, ~26 GB at Q8; fits one 24-32 GB card. | https://willitrunai.com/models/hf-unsloth--mistral-small-3-2-24b-instruct-2506-gguf
Project measurement | Corpus replay 2026-10-17: 39 vision calls to mistral-medium-latest = 0.39 USD, i.e. ~0.01 EUR per page. Medium downscales images to ~1540 px, matching the model card limit. | bh3/README.md (local)
Caveat | Rental prices, electricity, labour and warranty lines are estimates and not quotes. Replace blue cells with supplier figures before any purchase decision. Formulas recalculate automatically in Excel on open.